## Branch
Branch
From Number | From Name | To Number | To Name | Circuit | Status | Branch Device Type | Xfrmr | MW From | Mvar From | MVA From | Lim MVA | % of MVA Limit (Max) | MW Loss | Mvar Loss
1 | System Slack Bus | 2 | 2 | 1 | Closed | Line | NO | 28.2 | 57.4 | 63.9 | 150 | 42.6 | 16.34 | 49.03
1 | System Slack Bus | 5 | 5 | 1 | Closed | Transformer | YES | 52.1 | 45.1 | 68.9 | 0 | 0 | 0.95 | 4.74
1 | System Slack Bus | 7 | 7 | 1 | Closed | Transformer | YES | 51.3 | 19.2 | 54.8 | 0 | 0 | 0.6 | 3
6 | 6 | 3 | 3 | 1 | Closed | Transformer | YES | 50.9 | 39.7 | 64.6 | 0 | 0 | 0.95 | 4.74
8 | 8 | 4 | 4 | 1 | Closed | Transformer | YES | 50.6 | 15.8 | 53 | 0 | 0 | 0.6 | 3
5 | 5 | 6 | 6 | 1 | Closed | Line | NO | 51.1 | 40.3 | 65.1 | 150 | 43.4 | 0.19 | 0.57
7 | 7 | 8 | 8 | 1 | Closed | Line | NO | 50.7 | 16.2 | 53.2 | 150 | 35.5 | 0.12 | 0.36

## Bus
Bus
Number | Name | Area Name | Nom kV | PU Volt | Volt (kV) | Angle (Deg) | Load MW | Load Mvar | Gen MW | Gen Mvar | Switched Shunts Mvar | Act G Shunt MW | Act B Shunt Mvar | Area Num | Zone Num
1 | System Slack Bus | 1 | 13.8 | 1 | 13.8 | 0 |  |  | 131.64 | 121.58 |  | 0 | 0 | 1 | 1
2 | 2 | 1 | 13.8 | 0.22694 | 3.132 | -28.8 | 11.88 | 8.32 |  |  |  | 0 | 0 | 1 | 1
3 | 3 | 1 | 13.8 | 0.88621 | 12.23 | -5.87 | 50 | 35 |  |  |  | 0 | 0 | 1 | 1
4 | 4 | 1 | 13.8 | 0.94213 | 13.001 | -6.12 | 50 | 35 |  |  | 22.19 | 0 | 0 | 1 | 1
5 | 5 | 1 | 138 | 0.94551 | 130.48 | -2.61 | [5 empty] | 0 | 0 | 1 | 1
6 | 6 | 1 | 138 | 0.93824 | 129.477 | -2.9 | [5 empty] | 0 | 0 | 1 | 1
7 | 7 | 1 | 138 | 0.97172 | 134.098 | -2.8 | [5 empty] | 0 | 0 | 1 | 1
8 | 8 | 1 | 138 | 0.96766 | 133.536 | -3.13 | [5 empty] | 0 | 0 | 1 | 1

## Load
Load
Number of Bus | Name of Bus | Area Name of Load | Zone Name of Load | ID | Status | MW | Mvar | MVA | S MW | S Mvar | Dist Status | Dist MW Input | Dist Mvar Input
2 | 2 | 1 | 1 | 1 | Closed | 11.88 | 8.32 | 14.51 | 50 | 35 | Closed | 0 | 0
4 | 4 | 1 | 1 | 1 | Closed | 50 | 35 | 61.03 | 50 | 35 | Closed | 0 | 0
3 | 3 | 1 | 1 | 1 | Closed | 50 | 35 | 61.03 | 50 | 35 | Closed | 0 | 0

## For Lab Report
Lab One Spreadsheet Data | [11 empty] | Power Check Table
Branch |  | Branch | MW | Mvar | MW | MW | Mvar | Mvar | %MW | "To" Bus | Voltage % | Power Generated |  | Power Delivered
From Bus | To Bus | Type | From | From | Loss | to | Loss | to | Efficiency | Volt(Kv) | Loss (1) | MW | MVAR | At Loads L1-L3 [MW] | At Loads L1-L3 [MVAR] | Loss at Transmission Process [MW] | Loss at Transmission Process [MVAR]
1 | 2 | Line | 28.2 | 57.4 | 16.34 | 11.86 | 49.03 | 8.37 | 42.0567 | 3.132 | 77.3043 | 132 | 122 | 11.86 | 8.37 | 16.34 | 49.03
1 | 5 | Transformer | 52.1 | 45.1 | 0.95 | 51.15 | 4.74 | 40.36 | 98.1766 | 130.48 |  |  |  | 49.96 | 34.96 | 0.95 | 4.74
1 | 7 | Transformer | 51.3 | 19.2 | 0.6 | 50.7 | 3 | 16.2 | 98.8304 | 134.098 |  |  |  | 50 | 12.8 | 0.6 | 3
6 | 3 | Transformer | 50.9 | 39.7 | 0.95 | 49.95 | 4.74 | 34.96 | 98.1336 | 12.23 | 11.3768 |  |  |  |  | 0.95 | 4.74
8 | 4 | Transformer | 50.6 | 15.8 | 0.6 | 50 | 3 | 12.8 | 98.8142 | 13.001 | 5.7899 |  |  |  |  | 0.6 | 3
5 | 6 | Line | 51.1 | 40.3 | 0.19 | 50.91 | 0.57 | 39.73 | 99.6282 | 129.477 | [5 empty] | 0.19 | 0.57
7 | 8 | Line | 50.7 | 16.2 | 0.12 | 50.58 | 0.36 | 15.84 | 99.7633 | 133.536 | [5 empty] | 0.12 | 0.36
[12 empty] | Total |  | 111.82 | 56.13 | 19.75 | 65.44
From Simulation
Calculated Values | [11 empty] | Total [MW] Delivered |  | 131.57 |  | System Efficiency [MW] |  | 99.67%
Voltage @ Bus 1 = 13.8Kv | [11 empty] | Total [MVAR] Delivered |  | 121.57 |  | System Efficiency [MW] |  | 99.65%